CHECKLIST FOR FACILITY CERTIFICATION: CATEGORY C

ASSESSMENT TOOL FOR FACILITY CERTIFICATION

CATEGORY C: NEWBORN HEARING SCREENING CENTER

- FACILITY INFORMATION

| Name of Facility |  |
| --- | --- |
| Complete Address |  |
|  | No. & Street Barangay |
|  | City / Municipality Province Region |
| Contact Number of Facility (must have facility not just manager or screener number) |  |
| E-mail Address of Facility (if any) |  |
| Name of Owner |  |
| Name of Facility Manager |  |
| Cellphone of Manager |  |
| Email of Manager |  |
| NHSRC Facility Code (if renewal) |  |
| Classification According to |  |
| Ownership: | [ ] Government [ ] Private |
| Institutional Character: | [ ] Free-standing [ ] Institution-Based |

- TECHNICAL REQUIREMENTS

Instruction to the Applicant: Please prepare all the necessary documents enumerated below.

Instruction to the Inspector: In the appropriate box, place a check mark (✓) if the facility is compliant or X mark (X) if it is not compliant.

| STANDARDS AND REQUIREMENTS | COMPLIANT | REMARKS |
| --- | --- | --- |
| - PERSONNEL - A Category C Facility shall be managed by a Clinical Audiologist. - ABR and ASSR results should be interpreted by a Clinical Audiologist or PANORS with ABR Reader Certificate. - Confirmatory test procedure should always be under the supervision of the Clinical Audiologist/ PANORS with ABR Reader Certificate. - Category A Screener/s must be at least 19 years of age, High-school graduate and computer literate. - All personnel under Category C must comply with the minimum requirements set by the NHSRC. - Pediatric Audiometry, Hearing aid evaluation and verification test should always be under the supervision of the Clinical Audiologist. - Should have a Developmental Pediatrician and Speech Pathologist and/or occupational therapist. |  |  |
| - Manager |  |  |
| - Diploma in Masters in Clinical Audiology for Clinical Audiologists |  |  |
| - A valid certificate of Category A Newborn Hearing Screening Personnel Certifying Course |  |  |
| - Company ID or Contract of Appointment/ Memorandum of Agreement as Clinical Audiologist/ Manager (for managing more than 1 facility) |  |  |
| 2. Audiologist and/or ABR Reader |  |  |
| - Diploma in Masters in Clinical Audiology for Clinical Audiologists OR Valid PRC ID and PANORS ABR Reader Certificate |  |  |
| - Orientation and updates of Category A Newborn Hearing Screening (RA9709) |  |  |
| - Company ID or Contract of Appointment/ Memorandum of Agreement as Clinical Audiologist/ Manager (for managing more than 1 facility) |  |  |
| 3. Screener (1) |  |  |
| - Valid ID (PRC license for healthcare professionals/ company ID) |  |  |
| - A valid certificate of Category A Newborn Hearing Screening Personnel Certifying Course |  |  |
| Screener (2) |  |  |
| - Valid ID (PRC license for healthcare professionals/ company ID) |  |  |
| - A valid certificate of Category A Newborn Hearing Screening Personnel Certifying Course |  |  |
| Screener (3) |  |  |
| - Valid ID (PRC license for healthcare professionals/ company ID) |  |  |
| - A valid certificate of Category A Newborn Hearing Screening Personnel Certifying Course |  |  |
| 4. ABR Technician and/or Audiometrician |  |  |
| - Valid ID (PRC license for healthcare professionals/ company ID) |  |  |
| - A valid certificate of Category A Newborn Hearing Screening Personnel Certifying Course |  |  |
| - Certificate of training (equipment: ABR and ASSR, Audiometer, Middle Ear Analyzer and Real Ear Measurement) by distributor or signed by the in-house Audiologist |  |  |
| 5. Developmental Pediatrician |  |  |
| - Valid PRC license |  |  |
| - Residency certificate |  |  |
| - Fellowship certificate in Developmental Pediatrics |  |  |
| - Fellowship certificate from Philippine Pediatric Society |  |  |
| - Orientation and updates of Category A Newborn Hearing Screening (RA9709) |  |  |
| 6. Speech therapist and/or occupational therapist |  |  |
| - Diploma |  |  |
| - Orientation and updates of Category A Newborn Hearing Screening (RA9709) |  |  |
| B. EQUIPMENTS |  |  |
| Hearing Screening Equipment 1 Type: [ ] Otoacoustic Emission (OAE) [ ] Automated Auditory Brainstem Response (AABR) |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| Hearing Screening Equipment 2 Type: [ ] Otoacoustic Emission (OAE) [ ] Automated Auditory Brainstem Response (AABR) |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| Confirmatory Test Type: [ ] Auditory Brainstem Response (ABR) [ ] Auditory Steady State Response (ASSR) |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| - For ABR: Specs if capable of frequency specific |  |  |
| Tympanometer and Middle Ear Analyzer |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| 4. Diagnostic or Clinical Audiometer |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| 5. Real Ear Measurement (REM) |  |  |
| - Brand / Model: |  |  |
| - Serial Number: |  |  |
| - Annual calibration certificate |  |  |
| C. PHYSICAL FACILITY Every hearing screening facility shall have a physical facility with adequate areas in order to safely, effectively and efficiently provide hearing screening, diagnostic and behavioral test services to the newborns. |  |  |
| - OAE Room- Sufficient space for 1 chair or bassinet and a table enough to carry hearing screening equipment, laptop/desktop and printer. (Ambient noise should not be more than 50 dBA) - ABR, ASSR Room- Sufficient space for 1 bed and a table enough to carry hearing diagnostic equipment, laptop/desktop, printer and other materials for skin preparation. - For Behavioral Test using Diagnostic Audiometer- Sound treated booth (</=20dB), toys and reinforcers. |  |  |
| D. OPERATIONS |  |  |
| - Refusal Form |  |  |
| - Educational material / brochure |  |  |
| - Records of newborns screened |  |  |
| - Monthly report submitted to NHSRC |  |  |

III.	DEMONSTRATION

Instruction to the applicant: The following item should be demonstrated  in the video recording.

Instruction to the Inspector: In the appropriate box, place a check mark (✓) if the facility is compliant or X mark (X) if it is not compliant.

| ITEM | Place a check mark (✓) if the facility is compliant or X mark (X) if it is not compliant. | EVALUATOR’S COMMENT (IF NON-COMPLIANT) (REASON FOR NOT EARNING SCORE) |
| --- | --- | --- |
| INTRODUCTION - Name - Position - Name of facility Camera View: Face the camera, remove facemask and introduce yourself and the facility. |  |  |
| ROOM MEASUREMENT |  |  |
| - OAE/ AABR Room- Sufficient space for 1 chair or bassinet and a table enough to carry hearing screening equipment, laptop/desktop and printer. - ABR, ASSR Room- Sufficient space for 1 bed and a table enough to carry hearing diagnostic equipment, laptop/desktop, printer and other materials for skin preparation. - For Behavioral Test using Diagnostic Audiometer- Sound treated booth (</=20dB), toys and reinforcers. Camera View: Show actual room with complete equipment. |  |  |
| AMBIENT NOISE |  |  |
| - Should not be more than 50 dBA for OAE/AABR - Sound treated booth (</=20dB)?? Camera View: Show actual sound level meter while measuring the ambient noise of the room. |  |  |
| DEVICE CHECK |  |  |
| OAE/ AABR machine check if it is in good working condition. Camera View: Show actual parameters in a clear view and test a sample patient to check if the machine is working properly. |  |  |
| ABR TEST PARAMETERS Camera View: Show actual parameters in a clear view and test a sample patient to check if the machine is working properly. NOTE: Equipment is capable for Bone ABR and frequency specific testing. |  |  |
| - Subject state TICK: NATURAL SLEEP or under sedation - Transducer TICK: Inserts, bone conductor and headphone - Electrode montage (as required by machine and/or NHSRC) - Channels (1 or 2 channels) - Time window: (0-20ms) - Number of sweeps : 2,000 sweeps - Stimulus (click and toneburst minimum requirement) - Stimulus Intensity (at least up to 90dB) - Stimulus frequency (frequency specific ABR using toneburst, 500. 1k, 2k, 4k) - Stimulus rate: (23 to 39.1sec) - Stimulus Polarity: TICK *condensation *rarefraction *alternating - Grounding - Impedance Check |  |  |
| ASSR PARAMETERS Camera View: Show actual parameters in a clear view and test a sample patient to check if the machine is working properly. |  |  |
| GROUNDING AND IMPEDANCE (test must be perform for the evaluators to see if enough grounding and impendance are met; 5 and below) Artifacts rate must be less than 10% of the recorded response rate. |  |  |
| Tympanometer/Middle ear analyzer Camera View: Show actual parameters in a clear view and test a sample patient to check if the machine is working properly. |  |  |
| Hearing aid fitting equipment |  |  |
| - Hearing aid model/brand (Submit a PDF file copy of specs of the hearing aid model) - Laptop and/or computer with fitting software - Programming cable - Hearing aid batteries - Ear Impression material kit - Hearing aid trial fitting kit - Others (such as Hearing aid accessories) Camera View: Show actual hearing aid trial and fitting room with equipment (as mentioned above). |  |  |
| Real Ear Measurement (REM) |  |  |
| REM machine check if it is in good working condition. Camera View: Show actual parameters in a clear view and test to check if the machine is working properly. |  |  |
| RESULT TEMPLATE: - OAE/ AABR - ABR/ ASSR Diagnostic ( Series of results at least 5 most recent) - Tympanometer/ Middle Ear Analyzer - Play audiometry official result - Behavioral Test (VROA, etc) official result - REM official result Submit the following in PDF forms. |  |  |
| OTHER REQUIREMENTS: - Otoscope - Skin preparation solution - Gauze, cotton, alcohol - PPE Camera View: Show actual materials |  |  |
| MONITORING AND VALIDATION OF INFORMATION |  |  |
| - I hereby confirm that the information provided by me is true and correct. By signing below I acknowledge that the inspectors assigned to our facility can check and verify the information I have given. __________________________ Printed Name and Signature |  |  |

As part of monitoring:

Category C centers are expected to share with NHSRC their regular scheduled meetings (at least quarterly schedule meeting) , to be attended by NHSRC inspector/ representative and /or minutes of the meeting.

Agenda: to check or present census, monitoring of patient, status or progress of program, etc.

Inspected by:

| Printed Name | Signature | Position / Designation / Office |
| --- | --- | --- |

Received by:

Signature	__________________________________

Printed Name	__________________________________

Position/Designation	___________________________

Date		__________________________________